#### 16AI64

#### 16-Bit, 64 Channel Analog Input

Windows 2K\XP\Vista\Win7 Driver User Manual

Manual Revision: July 24, 2014

General Standards Corporation 8302A Whitesburg Drive Huntsville, AL 35802 Phone: (256) 880-8787 Fax: (256) 880-8788 URL: http://www.generalstandards.com E-mail: sales@generalstandards.com E-mail: support@generalstandards.com

Preface

Copyright ©2003, General Standards Corporation

Additional copies of this manual or other literature may be obtained from:

General Standards Corporation

8302A Whitesburg Dr.

Huntsville, Alabama 35802

Phone: (256) 880-8787

FAX: (256) 880-8788

URL: http://www.generalstandards.com

E-mail: sales@generalstandards.com

General Standards Corporation makes no warranty of any kind with regard to this material, including, but not limited to, the implied warranties of merchantability and fitness for a particular purpose. Although extensive editing and reviews are performed before release to ECO control, General Standards Corporation assumes no responsibility for any errors that may exist in this document. No commitment is made to update or keep current the information contained in this document.

General Standards Corporation does not assume any liability arising out of the application or use of any product or circuit described herein, nor is any license conveyed under any patent rights or any rights of others.

General Standards Corporation assumes no responsibility for any consequences resulting from omissions or errors in this manual or from the use of information contained herein.

General Standards Corporation reserves the right to make any changes, without notice, to this product to improve reliability, performance, function, or design.

ALL RIGHTS RESERVED.

The Purchaser of this software may use or modify in source form the subject software, but not to re-market or distribute it to outside agencies or separate internal company divisions. The software, however, may be embedded in the Purchaser’s distributed software. In the event the Purchaser’s customers require the software source code, then they would have to purchase their own copy of the software.

General Standards Corporation makes no warranty of any kind with regard to this software, including, but not limited to, the implied warranties of merchantability and fitness for a particular purpose and makes this software available solely on an “as-is” basis. General Standards Corporation reserves the right to make changes in this software without reservation and without notification to its users.

The information in this document is subject to change without notice. This document may be copied or reproduced provided it is in support of products from General Standards Corporation. For any other use, no part of this document may be copied or reproduced in any form or by any means without prior written consent of General Standards Corporation.

GSC is a trademark of General Standards Corporation.

PLX and PLX Technology are trademarks of PLX Technology, Inc.

Table of Contents

- Scope…………………………………………………………………………..	  4

- Hardware Overview………………………………………………………….	  5

- Referenced Documents……………………………………………………..	  6

- General Standards API………………………………………………………	  7

  - AI64_FindBoards()………………………………………………………...	  8

  - AI64_Get_Handle()…………………………………………………………	  9

  - AI64_Read_Local32()……………………………………………………...	10

  - AI64_Write_Local32()……………………………………………………...	11

  - AI64_Close_Handle()………………………………………………………	12

  - Interface Functions………………………………………………………	13

    - AI64_Initialize()……………………………………………………	13

    - AI64_Autocal()…………………………………………………….	14

    - AI64_Set_Input _Mode()……………………..………………….	15

    - AI64_Clear_Input_Buffer()………………………………………	16

    - AI64_EnableInterrupt()…………………………………………..	17

    - AI64_DisableInterrupt()………………………………………….	18

    - AI64_Open_DMA_Channel()…………………………………….	20

    - AI64_DMA_FROM_Buffer()…..………………………………….	21

    - AI64_Close_DMA_Channel()……………………………………	22

    - AI64_Register_Interrupt_Notify()…....…………...……………	23

    - AI64_Cancel_Interrupt_Notify()…....…..………….……………	24

- Driver Installation………………………………………………………………	25

- Example Program………………………………………………………………	26

- Scope

The Purpose of this document is to describe how to interface with the 16AI64 Windows Driver API developed by General Standards Corporation (GSC). This software provides the interface between the “Application Software” and the 16AI64 board.

The 16AI64 Driver API Software executes under control of the Windows Operating System. The 16AI64 is implemented as a standard Windows driver API written in “C” programming language. The 16AI64 Driver API Software is designed to operate on CPU boards containing x86 or X64 processors.

The 16AI64 Driver consists of a Windows driver with an interface layer (GSC API) to simplify the interface to the PLX Driver. While an application may interface directly to the PLX driver, interfacing to the GSC API layer, will simplify the application software development.

- Hardware Overview

The PMC-16AI64 board is a single-width PCI mezzanine card (PMC) that provides high-speed

16-bit analog input capability for PMC applications. 64 analog input lines can be

configured either as 64 single-ended input channels or as 32 differential channels, and are

digitized at rates up to 500,000 conversions per second in single channel mode. The voltage range is software controlled as ±2.5V, ±5V or ±10V. The board is functionally compatible with the IEEE PCI local bus specification Revision 2.2, and is mechanically and electrically compatible with the IEEE compact mezzanine card (CMC) specification IEEE 1386. A PCI interface adapter supports the "plug-n-play" initialization concept.

Selftest switching networks permit the converter to be calibrated automatically to an internal voltage reference.  Offset and gain trimming of the converter is performed by calibration DAC's that are loaded with channel correction values during initialization.  The correction values are determined during auto calibration, and are stored in nonvolatile EEprom for subsequent transfer to the calibration DAC's.  Either auto calibration or initialization can be invoked at any time by asserting a single control bit in the board control register.

The board is designed for minimum off-line maintenance, and includes internal monitoring features that eliminate the need for disconnecting or removing the module from the system for calibration.  All analog input and output system connections are made through a single 68-pin, dual-ribbon front-access  I/O connector. Power requirements consist of +5 VDC, in compliance with the PCI specification, and operation over the specified temperature range is achieved with conventional convection cooling.

- Referenced Documents

The following documents provide reference material for the 16AI64 board:

  - PMC-16AI64 User’s Manual – GSC

  - PLX Technology, Inc. PCI 9080 PCI Bus Master Interface Chip data sheet.

4.	General Standards API

This section describes the interface to the 16AI64 GSC API. The 16AI64 GSC API isolates the user from operating system specific requirements, allowing the API to be used with all Windows operating systems (W2K\XP\Vista\Win7).

The 16AI64 Win Driver provides an interface to a 16AI64 card and a Windows application, which run on a x86 target processor. The driver is installed and devices are created when the driver is started during boot up. The functions of the driver can then be used to access the board. Devices are created with the name “board x” where “x” is the device number. Device numbers start at 1 and for each board found the device number will increment.

Included in the board driver software is a menu driven board application program. This program is delivered undocumented and unsupported but may be used to exercise the card and the device driver. It can also be used as an example for programming the 16AI64 device.

The user interfaces to the GSC API at the basic level with the following functions:

- Find Boards() - Detects all PLX Devices connected via the PCI Bus.

- Get Handle() - Opens a driver interface to one 16AI64 card.

- Readlocal32() - Reads local registers from one 16AI64 card.

- Writelocal32() - Writes to local Registers of one 16AI64 card.

- Close Handle() - Closes a driver interface to one 16AI64 card.

The user MUST call Find Boards to determine what PLX devices are installed in the system, and get the associated board number. The user then calls the Get Handle function with each board number to be used. This function obtains a handle to the device and initializes the device parameters within the API / driver. The user is then free (assuming no errors) to write / read the registers as desired. The user should always call Close Handle when done to free resources prior to exiting.

The function definitions and parameters are defined in the following paragraphs of this section.

  - AI64_FindBoards()

Detects all PLX Devices connected via the PCI Bus.

Prototype:

U32  AI64_FindBoards  	(char 		*pDeviceInfo,

U32		 *ulError);

Returns – Total number of PLX boards found in the system or –1L if error or no boards found.

Where:

pDeviceInfo – Contains “Board #: Bus: Slot: SSID: Type”  info for PLX boards found.

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

  - AI64_Get_Handle

Initializes Handle for the passed board number IN THE DRIVER.

Prototype:

U32  AI64_Get_Handle	(U32 		*ulError,

U32 		BoardNumber);

Returns – Error code if invalid board number passed (0, >31), else # boards.

Where:

BoardNumber – Defines board number to be used by the driver for a particular device.

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

  - AI64_Read_Local32

Read a value from the board local register.

Prototype:

U32  AI64_Read_Local32	(U32 		BoardNumber,

U32 		*ulError,

U32 		ulRegister);

Returns – Value read from the register.

Where:

BoardNumber – Defines board number to be used by the driver for a particular device.

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

ulRegister – Register to read. Values defined in AI64eintface.h

BCR				Board Control Register

ICR				Interrupt Control Register

IN_DATA_BUFF		Input FIFO Register

IN_DATA_CNTRL		Input Buffer Control Register

RATE_A			Rate A Generator Register

RATE_B			Rate B Generator Register

BUFF_SIZE			Number of Samples Register

SCAN_CNTRL		Scan and Sync Control Register

FW_REV			Firmware Register (Undocumented)

AUTOCAL			Autocal Register (Undocumented)

  - AI64_Write_Local32

Write a value to the board local register.

Prototype:

void  AI64_Write_Local32(U32 		BoardNumber,

U32 		*ulError,

U32 		ulRegister

U32		uiValue);

Returns – N/A

Where:

BoardNumber – Defines board number to be used by the driver for a particular device.

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

ulRegister – Register to write. Values defined in AI64eintface.h

BCR				Board Control Register

ICR				Interrupt Control Register

IN_DATA_BUFF		Input FIFO Register

IN_DATA_CNTRL		Input Buffer Control Register

RATE_A			Rate A Generator Register

RATE_B			Rate B Generator Register

BUFF_SIZE			Number of Samples Register

SCAN_CNTRL		Scan and Sync Control Register

FW_REV			Firmware Register (Undocumented)

AUTOCAL			Autocal Register (Undocumented)

uiValue – Value to write to the selected register.

Refer to the 16AI64 user manual for all register / bit definitions.

  - AI64_Close_Handle

Closes the device handle and frees the resources.

Prototype:

void  AI64_Close_Handle(U32 		BoardNumber,

U32 		*ulError);

Returns – N/A

Where:

BoardNumber – Defines board number to be used by the driver for a particular device.

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

  - Interface Functions

These functions allow the user to perform certain operations on the board, without having to keep track of individual register values and bit definitions.

    - AI64_Initialize

Perform a reset on the board. All register values are set to defaults. This Function does NOT wait for Initialization to complete, such that multiple boards can be initialized without waiting for each to finish.

Prototype:

void  AI64_Initialize	(U32 		BoardNumber,

U32 		*ulError);

Returns – N/A

Where:

BoardNumber – Defines board number to be used by the driver for a particular device.

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

    - AI64_Autocal

Perform an auto calibration on the board. This operation generates new calibration correction values which are stored in nonvolatile EEprom. This function utilizes the autocal interrupt to determine when autocal is completed.

Prototype:

U32  AI64_Autocal		(U32 		BoardNumber,

U32 		*ulError);

Returns – Autocal status (0 = Failed, 1 = Passed), 0x55 if insufficient resources, 0xAA if     interrupt not requested.

Where:

BoardNumber – Defines board number to be used by the driver for a particular device.

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

    - AI64_Set_Input_Mode

Sets the input mode of the board: Differential, Single-Ended, or Selftest (zero or Vref).

Prototype:

void  AI64_Set_Input_Mode	(U32 		BoardNumber,

U32 		*ulError

U32		ulInputMode);

Returns – N/A

Where:

BoardNumber – Defines board number to be used by the driver for a particular device.

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

ulInputMode – Valid values: 0 – 3

0 = Differential

1 = Single-Ended

2 = Zero Selftest

3 = +Vref Selftest

    - AI64_Clear_Input_Buffer

Clears all data from the active input buffer.

Prototype:

void  AI64_Clear_Input_Buffer	(U32 		BoardNumber,

U32 		*ulError);

Returns – N/A

Where:

BoardNumber – Defines board number to be used by the driver for a particular device.

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

    - AI64_EnableInterrupt

Enables the desired interrupt in the local register, and for the PCI bus. See 16AI64 User manual for interrupt sources.

Prototype:

U32  AI64_EnableInterrupt	(U32 		BoardNumber,

U32		ulValue,

U32 		*ulError);

Returns – Interrupt value set.

Where:

BoardNumber – Defines board number to be used by the driver for a particular device.

ulValue – The desired interrupt value to set, valid for 0 – 0x77.

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

    - AI64_DisableInterrupt

Disables all interrupts in the local register, and for the PCI bus.

Prototype:

void  AI64_DisableInterrupt	(U32 		BoardNumber,

U32		ulValue,

U32 		*ulError);

Returns – N/A.

Where:

BoardNumber – Defines board number to be used by the driver for a particular device.

ulValue – The desired interrupt value to clear, valid for 0 – 0x77.

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

    - AI64_Open_DMA_Channel

Opens the desired DMA channel for transferring data from the buffer.

Prototype:

void  AI64_Open_DMA_Channel(U32 		BoardNumber,

U32		ulChannel,

U32 		*ulError);

Returns – N/A.

Where:

BoardNumber – Defines board number to be used by the driver for a particular device.

uiValue – The desired channel to open, currently valid for channel 0 .

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

    - AI64_DMA_FROM_Buffer

Transfers the desired number of WORDS from the board input buffer. The user should set the threshold value to DMA words –1 to satisfy the hardware DemandMode requirements.

Prototype:

U32  AI64_DMA_FROM_Buffer  (U32 		BoardNumber,

U32		ulChannel,

U32		ulWords,

U32*		uData,

U32 		*ulError);

Returns – WORDS transferred if no error.

Where:

BoardNumber – Defines board number to be used by the driver for a particular device.

ulChannel – The DMA channel previously opened, currently valid for channel 0 .

ulWords – Number of WORDS to transfer. (BYTES = ulWords*4).

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

    - AI64_Close_DMA_Channel

Closes the desired DMA channel.

Prototype:

void  AI64_Close_DMA_Channel(U32 	BoardNumber,

U32		ulChannel,

U32 		*ulError);

Returns – N/A.

Where:

BoardNumber – Defines board number to be used by the driver for a particular device.

uiValue – The desired channel to close, currently valid for channel 0 .

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

    - AI64_Register_Interrupt_Notify

Registers a user event for interrupt notification.

NOTE: This function DOES NOT enable the interrupts the notification is based on.

Prototype:

void  AI64_Register_Interrupt_Notify	(U32 		BoardNumber,

GS_NOTIFY_OBJECT 		*event,

U32 		ulIntr,

U32 		*ulError);

Returns – N/A.

Where:

BoardNumber – Defines board number to be used by the driver for a particular device.

event – User creates an event and stores the handle in a GS_NOTIFY_OBJECT structure member hEvent. The user should not set or change the other members of the structure.

ulIntr – Reserved - Set to Interrupt # or 0.

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

    - AI64_Cancel_Interrupt_Notify

Cancels interrupt notification for a user event.

Prototype:

void  AI64_Cancel_Interrupt_Notify	(U32 		BoardNumber,

GS_NOTIFY_OBJECT 		*event,

U32 		*ulError);

Returns – N/A.

Where:

BoardNumber – Defines board number to be used by the driver for a particular device.

event – A valid GS_NOTIFY_OBJECT structure which has been initialized by a call to AI64_Register_Interrupt_Notify.

ulError – Returns 0 or error code. Refer to tools.h for a list of error codes.

5.	Driver Installation

This section details driver installation on the target system. Any current driver previously installed for the 16AI64 must be uninstalled prior to this installation to avoid interference.

To install the driver, API, and associated example files, insert the CD ROM into the drive and close the bay. The installation should commence automatically and display user prompts. Follow the onscreen instructions to complete the installation.

Should the installation fail to automatically start, Select Start  Run  Browse on the Windows toolbar/popup and browse to find Setup.exe on the CD ROM. Click on OK to commence the installation.

The following files are installed on the target system:

OS dependent\…\GS66AI64SSA.sys

OS dependent\…\GS66AI64SSM.sys

OS dependent\…\GSebApi.dll

Program Files\General Standards\16AI64\AI64 eExample.exe

Program Files\General Standards\16AI64\AI64 eDriver C.dll

Program Files\General Standards\16AI64\AI64 eDriver C.lib

Program Files\General Standards\16AI64\AI64eintface.h

Program Files\General Standards\16AI64\AI64 eExample.c

Program Files\General Standards\16AI64\Tools.c

Program Files\General Standards\16AI64\Tools.h

Program Files\General Standards\16AI64\CioColor.h

Program Files\General Standards\16AI64\AI64ebdriver.inf

6.	Example Program

This section describes the example program, and the files required to develop an application.

The complied example program allows the user to exercise the installed device, while observing the outputs. To execute, double click on ‘AI64Example.exe’. Refer to the Driver Installation section for file location.

The source is provided to educate the user with the GSC API function calls and provide a working example to aid the user with application development. To build the example program using MS Visual C++, create a project and add the following files:

Source Files 	 AI64 eExample.c

 Tools.c

Header Files 	 AI64eintface.h

 CioColor.h

 Tools.h

Resource Files 	 AI64 eDriver C.lib

Select Build  [ProjectName].exe on the toolbar.

NOTE: AI64 eDriver C.dll must be in the project directory to run the example.

Contact GSC for example programs (drivers) for other development environments (i.e LabVIEW, LabWindows/CVI, etc.)